## Slide 1
Ben Aitken
Trading Standards Officer
Trading Standards
MBIE
New Zealand
Kevin Gudmundsson
Legal Metrology Advisor
Trading Standards
MBIE
New Zealand
PRE-PACKAGED PRODUCTS
NON-COMPLYING GOODS

## Slide 2: Non-Complying Goods
What to do about non-complying pre-packages
Non-compliance may be in relation to;
  Labelling of goods (R79), or
  Short weight, measure or number (R87), or
  Both labelling & short quantity

## Slide 3: Non-Complying Goods
What to do about non-complying packages:
Note: Precedence should be given to your economies legislation regarding pre-packaged goods offences

## Slide 4: Non-Complying Goods
What to do about incorrectly labelled pre-packages:
Where packages have been labelled incorrectly;
Identify and isolate the affected batch
Re-package or re-label the affected pre-packages
Notes: Repackaging may not always be an option

## Slide 5: Non-Complying Goods
What to do about incorrectly labelled packages:

## Slide 6: Non-Complying Goods
What to do about short quantity pre-packages
The manufacturer / packer should;
Identify the affected goods
Take action to quarantine the goods
Investigate to determine the cause of the errors
Rectify the problem
Ensure pre-packaged goods meet the requirements of AQS

## Slide 7: Non-Complying Goods
What to do about short quantity packages
Identify the Causes and Solutions;
  Unsuitable Equipment
  Operator Behaviour

## Slide 8: Non-Complying Goods
Causes of non-complying goods
  Unsuitable Equipment
  Accurate?
  Being used correctly?
  Division size appropriate?
  Environmental disturbances?

## Slide 9: Non-Complying Goods
Causes of non-complying goods
  Unsuitable Equipment?

## Slide 10: Non-Complying Goods
Causes of non-complying goods
  Suitable Equipment Guidelines
Notes: Guidelines can be used

## Slide 11: Non-Complying Goods
Causes of non-complying goods
  Operator Behaviour;
  Insufficient training or understanding
    Equipment
    Procedure
    Legislative requirements
  Inadequate / insufficient oversight
    Business owner
    Regulatory presence

## Slide 12: Non-Complying Goods
Causes of non-complying goods
  Operator Behaviour
  600g Stated Net???

## Slide 13: Non-Complying Goods
What to do about short quantity packages
Sorting Quarantined Packages
Identifying and isolating an affected batch
Removing excessively deficient packages
Re-checking a sample

## Slide 14: Non-Complying Goods
What to do about short quantity packages
Re-labelling the pre-packages with the correct weight
This may be most appropriate for importers or a suitable solution for pre-packages already distributed into the marketplace

## Slide 15: Non-Complying Goods
What to do about short quantity packages
Re-packing or topping up
Deficient pre-packages can be re-packaged or topped up
A sample of the altered batch should be checked to ensure it meets all the requirements

## Slide 16: Non-Complying Goods
What to do about short quantity packages
If the investigation into the short quantity packages goods has identified that short quantity pre-packages are already in the marketplace then the manufacturer or packer needs to contact their customers and advise them to check their stock
Notes: Contact LMO in manufacturers country

## Slide 17: Non-Complying Goods
Resources
It is often useful to develop your own
Factsheets
Websites, or
Resources
to give to a manufacturer or packer

## Slide 18: Non-Complying Goods
Thank you for your attention
Any Questions?