## Slide 1: APLMF survey on the test procedure for NAWI with digital indication survey results
August 2017

## Slide 2: Survey results
Analysis of survey results for the test procedure for NAWI digital indication, to develop benchmark test procedures.
 | Yes | No | Not applicable*
Does your economies test procedures align with the test procedures described above. | 80% | 10% | 10%
*Not applicable: Local procedures are much more generic and seem to be more subject to interpretation

## Slide 3: NAWI with digital indication
Test name | Total economies surveyed | Agree | Disagree | Economies not responded
1. Visual inspection | 19 | 11 | 0 | 9
2. Repeatability | 19 | 9 | 1 | 9
3. Eccentricity | 19 | 9 | 1 | 9
4. Zero setting | 19 | 9 | 1 | 9
5. Zero Tracking | 19 | 9 | 1 | 9
6. Weighing Performance | 19 | 10 | 0 | 9
7. Discrimination | 19 | 9 | 1 | 9
8. Accuracy of tare setting | 19 | 9 | 1 | 9
9. Price-computation | 19 | 9 | 1 | 9
Economies that participated in the survey were: Australia, Canada, Cambodia, Japan, New Zealand, Papua New Guinea, Philippines, Singapore, Chinese Taipei, Viet Nam
No response means the country did not respond to the survey questionnaire